## Slide 1
Chapters
Improve signal acquisition from ECG shirt
State of the art QRS detectors
Pan Tompkins
Christov
Hamilton
Engelse and Zeelenberg
Elgendi
New shirt prototype
New hardware implementation
HRV metrics
Artefact correction:
  Detrending
  Kubios artefact correction
  RR-intervals 20% deviated from the median
HRV metrics:
  RMSSD, LF, HF, LF/HF

## Slide 2
Tf
Ti
T1
T2
27/10/2019 Chest Strap
Lausanne Half Marathon 2019. Top) Raw ECG signal from FieldWiz chest strap; Bottom) Heart Rate estimations from 1) FieldWiz chest strap, 2) FieldWiz chest strap, 10samples moving average and 3) Garmin Forerunner 235.
Ti) Beginning of the Half-Marathon; Tf) End of the Half-Marathon; T1) Stop running; T2) Start running.

## Slide 3
1
2
3
4
05/02/2020 T-shirt (old version)

## Slide 4
06/02/2020
1
2
3
4

## Slide 5
24/02/2020; New Shirt + Electrode Gel

## Slide 6
18/02/2020; New Hardware

## Slide 7
Ectopic heartbeat

## Slide 10: Algorithm (modification)
Pre-Processing Stage
Derivative Derivative Squaring Integral
R peak detection based
on adaptive threshold
Detection Stage

## Slide 11
State 3
Search for R-peak
State 1
Counter++
State 2
:

## Slide 12
ECG Amplitude
ECG Amplitude
ECG Amplitude

## Slide 13
Raw ECG
Processed ECG
Raw ECG
Processed ECG

## Slide 14
+
-
ECG electrodes Shirt version 2
ECG electrodes
Shirt version 1
-
+
-
ECG electrodes
+

## Slide 17
ADC Value
ADC Value
ADC Value
ADC Value
ADC Value
ADC Value

## Slide 18
ADC Value
Heart Rate
Time (s)

## Slide 19
ADC Value
Heart Rate
Time (s)

## Slide 20
FIR [2,45]
fir(48, [2,45]/(250/2))
Raw ADC value

## Slide 21
FieldWiz, Shirt Version 1
Noisy ECG
Good Quality ECG
Barely Acceptable
Unacceptable
Barely Acceptable
Unacceptable

## Slide 22
FieldWiz, Shirt Version 2
Noisy ECG
Good Quality ECG
Barely Acceptable
Unacceptable
Barely Acceptable
Unacceptable
Noisy ECG
Good Quality ECG

## Slide 24
Subspace S12
Subspace S11
Subspace S22
Subspace S21
a.u.
a.u.
RR-intervals (s)
2400
800
1600
0
400
1200
2000
2800
Time (s)