## Slide 1
Real time detectors , state of the art :
  Pan Tompkins, Christov, Gamboa, Engelse and Zeelenberg (modified), Elgendi, Kalidas
Preliminary assessment
Alternative R-peak implementation
Wiz Shirt, Version 1 and 2
Admos Live
Water, no water and electrode gel
SQI, Wiz shirt Version 1 and 2 comparison
Artefact correction:
  Detrending
  Kubios artefact correction
  Corrected RR-intervals 20% deviated from the median
HRV metrics:
  SDNN, RMSSD, ln(RMSSD), LF, HF, LF/HF
Chapter 3
Signal Quality Evaluation
QRS detection algorithms
Chapter 4
Chapter 5
Database Benchmarking
FieldWiz Database
SignalBit for annotations
Benchmarking:
  Physionet Databases: Benchmarking
  FieldWiz: Parameter Optimization
  FieldWiz: Benchmarking
Chapter 6
Heart Rate Variability
Chapter 7
Implementation
Embedded implementation:
  R-peak detection, RR-intervals and HR (corrected)
MATLAB implementation:
  HRV metrics (SDNN, RMSSD, ln(RMSSD), LF, HF, LF/HF)

## Slide 2
R-peak detection
edian of last 15 RR-intervals)
(last RR-interval)
FieldWiz
(Embedded)
R-peak detection:
  RR-intervals
  HR (instantaneous, median of the last 15 RR-intervals)
MATLAB
(Server)
Raw RR-intervals
HRV
  SDNN, RMSSD, ln(RMSSD), LF, HF, LF/HF

## Slide 3
Tf
Ti
T1
T2
27/10/2019 Chest Strap
Lausanne Half Marathon 2019. Top) Raw ECG signal from FieldWiz chest strap; Bottom) Heart Rate estimations from 1) FieldWiz chest strap, 2) FieldWiz chest strap, 10samples moving average and 3) Garmin Forerunner 235.
Ti) Beginning of the Half-Marathon; Tf) End of the Half-Marathon; T1) Stop running; T2) Start running.

## Slide 4
1
2
3
4
05/02/2020 T-shirt (old version)

## Slide 5
06/02/2020
1
2
3
4

## Slide 6
24/02/2020; New Shirt + Electrode Gel

## Slide 7
18/02/2020; New Hardware

## Slide 8
Ectopic heartbeat

## Slide 11: Algorithm (modification)
Pre-Processing Stage
Derivative Derivative Squaring Integral
R peak detection based
on adaptive threshold
Detection Stage

## Slide 12
State 3
Search for R-peak
State 1
Counter++
State 2
:

## Slide 13
ECG Amplitude
ECG Amplitude
ECG Amplitude

## Slide 14
Raw ECG
Processed ECG
Raw ECG
Processed ECG

## Slide 15
+
-
ECG electrodes Shirt version 2
ECG electrodes
Shirt version 1
-
+
-
ECG electrodes
+

## Slide 18
ADC Value
ADC Value
ADC Value
ADC Value
ADC Value
ADC Value

## Slide 19
ADC Value
Heart Rate
Time (s)

## Slide 20
ADC Value
Heart Rate
Time (s)

## Slide 21
FIR [2,45]
fir(48, [2,45]/(250/2))
Raw ADC value

## Slide 22
FieldWiz, Shirt Version 1
Noisy ECG
Good Quality ECG
Barely Acceptable
Unacceptable
Barely Acceptable
Unacceptable

## Slide 23
FieldWiz, Shirt Version 2
Noisy ECG
Good Quality ECG
Barely Acceptable
Unacceptable
Barely Acceptable
Unacceptable
Noisy ECG
Good Quality ECG